## ENG
| Russia, Ekaterinburg, 620102, Belorechenskaya 15 |  | Tel.: +7 343 310-26-02 www.ets-eng.com info@ets-eng.com
RECTIFIER GROUP QUESTIONNAIRE
YES/NO or parameter value
1 | Factory
2 | Factory location (country, city)
3 | Contact person
Name
Position
Phone (incl. country and city code)
e-mail
4 | Number of rectifier groups | pcs.
5 | Process
6 | Delivery date | M.Y.
7 | Green field project or retrofit?
8 | Rectifier groups parallel operation needed?
9 | Rated DC current | kA
10 | DC overcurrent (value/time) | kA/min
11 | Is reverse DC current needed? If YES, specify the value | kA
12 | Rated DC voltage | V
13 | Rated AC feeder voltage | kV
14 | Current stability | %
15 | Is current regulation needed?
| min. value | кА
| man. value | кА
16 | Is voltage regulation needed?
| min. value | V
| man. value | V
17 | Rectifier group type (please choose)
diode
diode with transformer OLTC
diode with saturable reactors
diode with transformer OLTC and saturable reactors
thyristor
thyristor with transformer OLTC
at manufacturer's choice
18 | OLTC positions number (if already specified)
19 | Rectifier diagram
bridge
two stars with unterphase transformer
at manufacturer's choice
20 | Rectifier pulse number
21 | Delivery scope (please choose)
AC switchgear
Rectifier transformer
Busbars "transformer-rectifier"
Rectifier
DC disconnectors
DC busbars
Cooling system
Control system
Remote control board
Remote control board with industrial PC and SCADA
Miscellaneous (please state)
22 | Equipment layout (please choose)
in existing building
in newly constructed building
in customer's outdoor shelter
in manufacturer's outdoor shelter
23 | Cooling system (please choose)
Direct air
water-to-water (industrial water should be available)
water-to-air (with water -to-air heat exchanger)
24 | Miscellaneous (please state)
Please, do not hesitate to attach any additional information/files available