## RU
| Russia, Ekaterinburg, 620102, Belorechenskaya 15 |  | Tel.: +7 343 310-26-02 www.ets-eng.com info@ets-eng.com
RECTIFIER TRANSFORMER QUESTIONNAIRE
YES/NO or parameter value
1 | Factory
2 | Factory location (country, city)
3 | Contact person
Name
Position
Phone (incl. country and city code)
e-mail
4 | Number of rectifier groups | pcs.
5 | Process
6 | Delivery date | M.Y.
7 | Green field project or retrofit?
8 | Existing transformer type / manufacturer (if any)
9 | Rectifier group info:
rectifier diagram
| rated DC voltage Ud | V
| rated DC current Id | A
10 | Trabsformer type (dry, oil-filled)
11 | Transformer connection (group, vector diagram)
12 | Primary winding HV:
-number of phases
| - rated power | KVA
| - rated voltage | KV
13 | Secondary (rectifier) winding(s) LV:
| - rated power | KVA
| - rated voltage | V
| - rated current | A
14 | Voltage regulation
- off-load tape changer
- on-load tape changer
- off-load + on-load tape changers
15 | Voltage regulation | %
16 | On-load tape changer positions number (if known)
17 | Off-load losses | KWt
18 | Short citcuit losses | KWt
19 | Short citcuit voltage | %
- full
- commutation
29 | Climatic conditions
21 | Cooling system
22 | Current transformers on HV side
23 | Current transformers on LV side
24 | Rail width | mm
25 | Auxiliary voltage | V
26 | Mass limitations (if any) | kg
27 | Dimensional limitations (if any) | mm
28 | Delivery with oil for refilling (+10%)
29 | Dissolved gas analysis system (yes/no)
30 | Heat run test (yes/no)
31 | Miscellaneous (please state)
Please, do not hesitate to attach any additional information/files available